CORRIGENDUM No: 1

to the

works tender dossier

Publication Ref: CB007.2.11.224 – WORKS –C2

- Subject: Small scale constructions for the needs of National Museum of Leskovac - LOT 1 – Setting up of an information center for visitors and LOT 2 - Lapidarium

Location: Republic of Serbia, City of Leskovac

After reviewing the documentation and technical requirements of the bidders, the following changes were made:

The following alternations and/or corrections are made:

- In the article 14.a Economic and financial capacity of candidate: of Contract notice:

The former text:

-  The average annual turnover of the tenderer in the past 3 years for which the accounts are  closed must be at least of contract value for LOT 1.

--  The average annual turnover of the tenderer in the past 3 years for which the accounts are  closed must be at least of contract value for LOT 2.

Shall read as new text:

- -  The average annual turnover of the tenderer in the past 3 years for which the accounts are  closed must be at least of contract value for LOT 1.

- --  The average annual turnover of the tenderer in the past 3 years for which the accounts are  closed must be at least of contract value for LOT 2.

If the same bidder submits a bid for both Lots, it must meet the financial conditions cumulatively.

- In the article 14.b Technical and professional capacity of candidate:

In Article 14.b Technical and professional capacity of the candidate was the title "Technical and professional capacity of the candidate", and after the changes, "Technical and professional capacity of the candidate – FOR BOTH LOTS.

In the anexx D4u_techspec_en – Technical specifikation in TECHNICAL DESCRIPTION – LOT 1 – SETTING UP OF AN INFORMATION CENTER FOR VISITORS - Annex – Bill of quantities - LOT 1 – Setting up of an information center for visitors:

The former text:

7.04 - Procurement and installation of granite and floor ceramics on the foreheads, steps, steps and part of the floor in front of the toilet. Coating part of the floor, forehead and treads of the steps with granite ceramics CERAMICHE CERDISA, or similar/choice of the designer, on the adhesive of the appropriate type for this type and dimension of tiles. Lay the tiles according to the joint-on-joint system. Prepare the substrate beforehand and lay it flat. At the junction of the forehead and the tread, place a metal strip Schluter SCHIENE STEP, or similar at the choice of the designer. Clean the installed tiles with sawdust. The price also includes the purchase of ceramics.
Calculation per m². Measures taken on the spot.

Shall read as new text:

7.04 - Procurement and installation of floor granite ceramics and ceramics should be done on the fronts, steps, steps and part of the floor in front of the toilet.

Coating part of the floor, front and treads of the steps with granite ceramics would be in the price class up to 2400 dinars without VAT, or similar according to the designer's choice, on glue of the appropriate type for this type and dimension of tiles. Lay the tiles according to the joint-on-joint system. Prepare the substrate beforehand and lay it flat. At the junction of the forehead and the tread, place a metal strip Schluter SCHIENE STEP, or similar at the choice of the designer. Clean the installed tiles with sawdust. The price also includes the purchase of ceramics. Calculation will be done per m². Measures will be taken on the spot.

The former text:

10.1 - Alluminium  portal entrance

Procurement and installation of an entrance portal with double doors made of aluminum profiles from the Alumil M50 system, RAL 7016, or a corresponding other manufacturer. Dimensions 740x250cm.
It consists of load-bearing vertical and horizontal aluminum profiles 50 mm wide and 150 mm deep in the vertical direction and 50 mm in the horizontal direction depending on the static position analysis. The profiles have a special polyamide applicator with a depth of 25 mm as a thermal bridge of the profile in the glass zone. Install a special EPDM element in the polyamide applicator to improve thermal stability.
The glass package is mounted on the outside using special profiles 50 mm wide, which are covered with cover profiles 50 mm wide and 16 mm deep. Aluminium portal entrance The door on the portal is from al. profiles with interrupted thermal bridge which are installed in the portal via system elements. Installation of bearing vertical and horizontal profiles should be performed with system anchors provided for this system. Apply system profiles with interrupted thermal bridge along the perimeter of the portal in contact with the wall and floor.
The side parts must be made of steel box profiles lined with alubond in the color RAL 7016. Inside these boxes, place 15 cm thick mineral wool. The dimensions of these elements are 16x16x250cm. The overall dimensions of the portal with side edging are 770x250cm. The portal is glazed with glass package 3.3.1 mm + 16Ar 90% + 3.3.1.Calculation per piece.

Shall read as new text:

10.1 - Aluminum entrance portal.

Procurement and installation of an entrance portal with double doors will be made of aluminum profiles from the Alumil M50 system, RAL 7016, or another manufacturer, with overall dimensions of 740 x 250cm.

It is consisted of load-bearing vertical and horizontal aluminum profiles with, thermal break width, 50 mm and depth in the vertical direction of 150 mm and in the horizontal direction of 50 mm. The glass package is mounted on the outside using special profiles 50 mm wide, which are covered with cover profiles 50 mm wide and 16 mm deep. The door on the portal is from

aluminum profile with thermal break. The door handles go the entire height of the door, in a design chosen by the designer.

The side parts between the portal and the walls must be made of steel box profiles lined with alubond in the color RAL 7016. Inside these boxes, should be placed 15 cm thick mineral wool. The dimensions of these elements are 16 x 16 x 250 cm. The overall dimensions of the portal with side edging are 770 x 250cm. The portal is glazed with glass package 3.3.1 (outside) + 15 + 6 mm, with internal low-emission glass. Calculation will be done per piece.

The former text:

10.2 – Glazing of existing fixed portals with installation of decorative moldings.
Double glazed glazing 3.3.1 + 15 + 3.3.1 (mm), filled with argon. Inner glass "satinato". Place the thermal glass on stainless  steel coasters (lead, wood, plastic material) during installation. Putty with a suitable plastic putty, the metal frame of the thermo glass must not be visible. It is necessary to procure and install new aluminum decorative moldings, at the choice of the designer, on the inside of the portal. Calculation per m².

Shall read as new text:

10.2 -Glazing of existing fixed portals with installation of decorative moldings. Double glazed glazing 6 + 15 + 4 (mm). The inner glass is low emission. Place the thermal glass on stainless steel coasters (lead, wood, plastic material) during installation. Putty with a suitable plastic putty, the metal frame of the thermo glass must not be visible. It is necessary to procure and install new aluminum decorative moldings, at the choice of the designer, on the inside of the portal. Calculation will be done per month.

The former text:

10.3 - Internal aluminum glazed door portals with doors. Production, transport and installation of internal portal from Al profile dimensions 60x20 mm plasticized in RAL 7016 tone. Construction without thermal break. Laminated glass glazing 3.3.1 mm. The price includes complete hardware (hinges and locks). Material, workmanship, details, fittings in everything according to the manufacturer's technology, and with the approval of the designer and supervision. Calculation per m².

Shall read as new text:

10.3 - Internal aluminum glazed door portals with doors. Production, transport and installation of internal portal from Al profiles, plasticized in RAL 7016 tons. Construction without thermal break. Glass glazing 3.3.1 mm. Match the

cross-sectional shape of the profile with the entrance portal. The price includes complete hardware (hinges and locks). Material, workmanship, details, fittings in everything according to the manufacturer's technology, and with the approval of the designer and supervision. Calculation will be done per month.

The former text:

10.4 - Nabaka, izrada i ugradnja staklene ograde, u sistemu "ELEGANT AL50", ili odgovarajućem istog kvaliteta. Ograda se sastoji od 74 čeličnih mat hromiranih nosača stakla ankerovanih u betonski parapet ograde i ploča laminiranog stakla debljine 16mm, ukupne površine 35m2. Pozicija podrazumeva sav neophodan materijal i upotrebu radne skele. Obračun komadu kompletno izvedene pozicije. Procurement, production and installation of a glass fence, in the "ELEGANT AL50" system, or corresponding to

Shall read as new text:

Procurement, production and installation of a glass fence should be done in the ELEGANT AL50 system, or equivalent. The fence consists of 74 steel matt chrome glass girders anchored in the concrete parapet of the fence and tempered glass panels, 12 mm thick, with a total area of 35 m 2. Position implies all the necessary material. Calculation will be done per m1 of a completely installed fence.

The former text:

10.5 - Procurement and installation of interior doors. 40mm honeycomb panel filling with CPL foil of the designer's choice. Alumil Linear system type, or equivalent. Profile color RAL7016. All profiles must be plasticized according to the procedure possessed by QUALICOAT. Calculation of which door.

Shall read as new text:

Procurement and installation should be made of interior doors.

MDF wing covered with PVC foil of the designer's choice. Calculation will be done per piece of door.

Point n°: 12.1.1.1. Information about the tenderer’s origin requirements.

Instead of:

All other terms and conditions of the works tender dossier remain unchanged. The above alterations and /or corrections to the tender dossier are integral part of the tender dossier.